TITLE: 			Equipment – Cleaning and Decontamination

SCOPE: 		St. Attracta’s Residence, All Areas

AUTHOR(S)/(OWNER): Trina Donohue, General Manager

SIGNATURE(S):

DATE: 			13th April 2018

APPROVED BY/(LEAD): Alison Moore, Director of Nursing

SIGNATURE(S):

DATE:  	 13th April 2018

1.0 	Policy

St. Attracta’s Residence shall ensure that the environment and equipment is decontaminated properly to minimise the risk of infection to residents, staff and visitors.

2.0 	Definitions

Contamination – The soiling of inanimate objects with potentially infectious substances. In the clinical situation, this is most likely to be organic matter but may also include inorganic substances such as dust. Such contamination may be transferred via the inanimate object to a susceptible host.

Decontamination – A general term for the destruction or removal of microbial contamination to render an item safe. It includes the methods of cleaning, disinfection and sterilisation.

Cleaning – Cleaning is a process, using general-purpose detergent and hot water (<35°C), to physically remove contaminants, including dust, soil, large numbers of micro-organisms (germs) and the organic matter (e.g. faeces, blood) that protects them.  Cleaning remains the single most effective way of reducing the risk of infection from the environment and is usually the first stage before disinfection or sterilisation is attempted. The value of cleaning cannot be overemphasised. Without cleaning an item first, it may not be possible to disinfect or sterilise it properly.

Disinfection – Disinfection is a process used to reduce the number of micro-organisms, but not usually of bacterial spores. The process does not necessarily kill or remove all micro-organisms, but

reduces their number to a level which is not harmful to health. Heat disinfection methods (e.g. dishwashers, washing machines, bedpan washer’s disinfectors, steam cleaners etc.) are more reliable than chemical methods and should be chosen whenever practicable.  (NHPS 2007)

Disinfectant – A chemical agent which under defined conditions is capable of disinfection.

Sterilisation - Sterilisation is a process that removes or destroys all micro-organisms including spores and viruses. All items entering a sterile part of the body e.g. bladder, or coming into contact with broken skin/mucous membranes, must be sterile.

Damp Dusting – A process of cleaning which involves the use of detergent and hot water. Chemical disinfectants are not used in routine damp dusting.

3.0 	Responsibility

3.1 	All Staff: Ensure that any equipment used is clean before use.

3.2	Director of Nursing: Ensure that all equipment in their area is appropriately cleaned

3.3	Director of Nursing: Evaluate adherence to the process

Procedure

4.0	Decontamination of Equipment

4.1	St. Attracta’s Residence shall provide adequate and appropriate specialist medical devices and equipment to meet the assessed needs of all residents in line with their care plan

4.2	St. Attracta’s Residence ensures all equipment and medical devices are cleaned and decontaminated on a regular basis.

4.3	Decontamination shall occur on the following occasions:

- On a routine, scheduled basis (e.g. daily)

- When visibly dirty, e.g. contaminated with dust

- Immediately when spillages or contamination with blood or body fluids has occurred

- On resident departure or discharge

4.4		Decontamination shall be conducted in accordance with the manufacturer’s instructions.

4.5		A risk assessment shall be undertaken to determine the method of decontamination required for all equipment in St. Attracta’s Residence. In most cases cleaning with detergent and water will be sufficient.  Appendix 1 provides guidance for the type of decontamination required by different equipment.

4.6		Thorough cleaning, using general-purpose detergent and warm water (<35°C) may be sufficient to decontaminate the equipment.  Where disinfection or sterilization is required, the cleaning shall precede any method of disinfection or sterilisation of instruments or equipment.

4.7		Staff shall ensure any electrical equipment to be cleaned is unplugged before commencing the decontamination process.

4.8		Staff shall wear appropriate Personal Protective Equipment (PPE) when decontaminating equipment

4.9		Where required, fresh disinfectants should be used at the correct strength and the recommended minimum contact time achieved.

4.10	Thorough rinsing is necessary after use of most chemical disinfectants.

4.11	The equipment shall be dried using a disposable towel.

4.12	The cleaning solution shall be disposed of in the sluice unit in the dirty utility or designated household sink. Do not discard into wash hand basins.

4.13	Personal protective equipment shall be removed and the staff member shall perform hand hygiene.

4.14		Following cleaning all equipment/devices shall be correctly reassembled according to manufacturers’ guidance. Staff shall be competent to disassemble and reassemble equipment and check that it is operating normally before re-use where they are cleaning equipment.

4.15		Residents and visitors shall not have unauthorised access to cleaning/disinfecting chemicals.  Chemicals shall be locked away after use.

4.16	All equipment shall be appropriately cleaned prior to transfer or inspection.  St. Attracta’s Residence shall provide documentation which indicates the contamination status of the equipment when the equipment is being sent for inspection, service, maintenance or repair.

4.17	The Director of Nursing shall audit the cleaning of equipment periodically.

5.0	Risk Categories for Decontamination

5.1	The choice of method of disinfection or sterilisation depends on a number of factors, which include

- the type of material to be treated

- the organisms involved

- the time available for decontamination

- the risks to staff and residents

5.2	The risks to residents from equipment and the environment may be classified as high, intermediate or low.  The recommended cleaning methods for each risk category are outlined in Table 1.0 	below:

Table 1.0 – Risk Categories and Suitable Cleaning Methods for Equipment

| Risk Category | Definition and Example | Suitable Method |
| --- | --- | --- |
| HIGH | Items in close contact with a break in skin or mucous membrane or introduced into a normally sterile body area. For example dressings, needles, urinary and other catheters | Single use disposable instruments should be used whenever possible. Reusable instruments must be sent to a EU accredited department for sterilisation |
| INTERMEDIATE | Items in contact with mucous membranes or other items contaminated with particularly virulent or readily transmissible organisms, or items to be used on highly susceptible residents. For example bedpans, commode pans and urinals | Disinfection required |
| LOW | Items in contact with normal and intact skin. For example washing bowls, chairs, stethoscopes | Cleaning and drying usually adequate |

(NPHS 2007)

6.0	Colour Coding

6.1	St. Attracta’s Residence shall use a colour coding system for cleaning cloths to minimise the risk of cross contamination.

6.2	This colour coding system shall be communicated to all staff in the home

6.3	A sample colour coding system is provided by the National Hospitals Office

| Colour | Indication |
| --- | --- |
| Red (Disposable) | Signifies all cloths and equipment for use in sanitary areas, for all sanitary appliances and the washroom floor. |
| Blue | All cloths and equipment for all general areas including bedroom areas, departmental areas, office areas, public areas etc. |
| Green | All kitchens |

7.0 	Records

7.1	Audit results

8.0	Review

A periodic review shall be undertaken to determine compliance to this policy and procedure. This shall be carried out by the Director of Nursing via a review of records and incident reports.

Appendix 1: Decontamination of Equipment

Adapted from: National Public Health Service for Wales, Infection Control Guidelines for Care Homes, 2007

| EQUIPMENT OR SITE | ROUTINE OR PREFERRED METHOD | ACCEPTABLE ALTERNATIVE OR Additional Recommendation |
| --- | --- | --- |
| Ambubags/ Ambumasks | Consider: 1. Disposable, single use or 2. Single resident use or Re-usables to be sent to a EU accredited Sterilising Department after each use | Report damaged surface |
| Baths, Showers & Bidets N.B. For hydrotherapy and Jacuzzi type baths refer to manufacturers’ instructions | After each resident use, wash using disposable cloths and hand hot water and general-purpose detergent. Rinse well and allow to dry. | Consider purchasing a combined detergent/disinfectant product. For residents with open wounds ensure surfaces of bath is cleaned and disinfected before and after use. |
| Bath mats (for use outside the bath) | The use of bath / shower mats is not advocated but if they are they should be cleaned between each resident use | Disposable paper bath mats be used instead of bath mat. |
| Bed frames and cradles (metal) | Between residents, wash with hand hot general-purpose detergent solution and dry. | If contaminated with blood clean with hand hot water and general-purpose detergent, rinse and dry. Wipe with 10,000 ppm (1%) hypochlorite solution, rinse and dry |
| Bedpans, Urinals & Commode pans | Use: 1. Bed-pan washer disinfectant or 2. Place single-use disposables and their contents into macerator N.B. Operate equipment according to the manufacturer’s recommendations. | Residents with diarrhoea and vomiting to have their own bedpan/urinal/commode pan: 1. Cleaned with hand hot water and general purpose detergent, rinsed and dry. 2. Disinfect surfaces by wiping with 1,000 ppm (0.1%) hypochlorite solution, rinse and allow to air dry. |
| Bedpan Washer Disinfector/Macerator | Clean outer casing of machines with hand hot water and general-purpose detergent on a weekly basis and immediately when visibly soiled | Engineer to check machine and seals annually and a logbook kept. |
| Bowls - Washing | After use, wash with hand hot water and general purpose detergent, rinse and dry. Store inverted |  |
| Bins (domestic and clinical) | Wash weekly and when visibly soiled with hand hot water and general purpose detergent in designated area. | If contaminated with blood, wash with hand hot water and general purpose detergent followed by disinfecting with 10,000 ppm (1%) hypochlorite solution rinse and dry. |
| Blood Pressure Sphygmanomoter & Cuff | Refer to manufacturer’s cleaning instructions. |  |
| Commode Frames | Treat removable container and lid as for “Bedpans”. Wash frame and seat with hot water and general-purpose detergent solution on a daily basis and when visibly soiled |  |
| Curtains | Launder or dry clean at least annually | Change after some episodes of isolation (barrier nursing). Check with Infection Control specialists |
| Hoists | Wash daily when in use and when visibly soiled with hand hot water and general-purpose detergent. Allow to dry | Pay particular attention to connecting parts. |
| Hoist slings (material) | Shared slings for clothed residents to be sent to laundry on a regular basis and when visibly soiled. | Refer to manufacturer’s instructions with regard to washing temperatures |
| Mattresses and Mattress Covers N.B. For pressure relieving mattresses always refer to manufacturer’s instruction | Incontinent residents to have fluid impermeable (i.e. waterproof) covers on mattresses. Covers to be: 1. Washed with general-purpose detergent solution and dried using disposable cloths or paper towels or 2. If capable of being laundered, send to laundry as appropriate Check condition and integrity of mattresses on a weekly basis. Mattresses that become soiled or damaged should be replaced. | Always refer to manufacturer’s instructions. N.B. Do not use disinfectant unnecessarily as this damages the mattress cover |
| Oxygen masks and tubing | Single resident use only (dispose of after each resident). Wash masks in hand hot water and general-purpose detergent on a weekly basis and when visibly soiled. | Follow manufacturer’s instructions. Retain in manufacturer’s wrapping until required. |
| Stands for drips, PEG feeds etc.) | Wash with general-purpose detergent and hot water between resident use and when soiled | If contaminated with blood, wash with hand hot water and general-purpose detergent followed by disinfecting with 10,000 ppm (1%) hypochlorite solution, rinse well and allow to dry. |
| Stethoscopes Ear Pieces | Follow manufacturer’s instructions. N.B. Staff with ear infections should not use stethoscopes. | Wipe with 70% alcohol. |
| Trolleys | Wash shelves and frame with hand hot water and general-purpose detergent and dry before and after use |  |
| Walking Aids (Zimmer frames, walking stick etc). | Between residents and when visibly soiled, wash with hand hot water and general-purpose detergent and dry. |  |